IMPORTANT:  Please note that the following is only a suggested list of yearly maintenance items.  It is hoped that review of this list will provide reminders of maintenance tasks that can become neglected until they malfunction.  Some items from this document will not apply to some buildings, and your building might have special needs not covered here.  Your fire safety plan and related preventative maintenance and inspections are specific to each building and this document does not attempt to detail them.

Maintenance Check List

| Building: | Building Operator: CFDI |
| --- | --- |
| Legend: PM = Prop Manager S = Site Staff | C = Contractor |
| X = Suggested Month |  |

| Maintenance Type | Work to be Completed | By | Mon | Tue | Wed | Thu | Fri | Sat | Sun |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Daily |  |  |  |  |  |  |  |  |
| Inspect. | Daily Inspection | S |  |  |  |  |  |  |  |
| Life/Safety | Check Fire Alarm Control Panel | S |  |  |  |  |  |  |  |
| Life/Safety | Perform Checks on Fire Safety Systems | S |  |  |  |  |  |  |  |
| Mech. | Check the Elevator Systems | S |  |  |  |  |  |  |  |
| Mech. | Check the Overhead Garage Doors | S |  |  |  |  |  |  |  |
| Mech. | Check all Electrical Motors | S |  |  |  |  |  |  |  |
| Mech. | Monitor Heating Water Temperature | S |  |  |  |  |  |  |  |
| Mech. | Check level of Cushion Tank | S |  |  |  |  |  |  |  |
| Mech. | Clean Lint Screen from Laundry Exhaust | S |  |  |  |  |  |  |  |
|  | Multiple Times per Week |  |  |  |  |  |  |  |  |
| Janitor. | Perform Routine Maintenance on Pool | S/C |  |  |  |  |  |  |  |

Maintenance Check List

| Building: | Building Operator: CFDI |
| --- | --- |
| Legend: PM = Prop Manager S = Site Staff | C = Contractor |
| X = Suggested Month |  |

| Maintenance Type | Work to be Completed | By | Mon | Tue | Wed | Thu | Fri | Sat | Sun |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Weekly |  |  |  |  |  |  |  |  |
| Grounds | Drain Drip Drums on Sprinkler System | C |  |  |  |  |  |  |  |
| Life/Safety | Perform Weekly Check on fire safety system | S | X |  |  |  |  |  |  |
|  | By-Monthly | By | J | F | M | A | M | J | J | A | S | O | N | D |
|  | Monthly |  | J | F | M | A | M | J | J | A | S | O | N | D |
| Elevator | Elevator Maintenance | C | X | X | X | X | X | X | X | X | X | X | X | X |
| HVAC | Test Glycol Solutions | C | X | X | X | X | X | X | X | X | X | X | X | X |
| HVAC | Chiller Maintenance | C |  |  |  |  | X | X | X | X | X | X |  |  |
| Pest Co. | Pest Control Service | C | X | X | X | X | X | X | X | X | X | X | X | X |
| Inspect. | Inspect Property | PM | X | X | X | X | X | X | X | X | X | X | X | X |
| Inspect. | Elevator Log Sheet Checked | PM | X | X | X | X | X | X | X | X | X | X | X | X |
| Mech. | Review Daily Log Books | PM | X | X | X | X | X | X | X | X | X | X | X | X |
| HVAC | Replace F/A Filters | S | X | X | X | X | X | X | X | X | X | X | X | X |
| Inspect. | Check Underground Parking Signs | S | X | X | X | X | X | X | X | X | X | X | X | X |
| Inspect. | Inspect Built Up Roof | S | X | X | X | X | X | X | X | X | X | X | X | X |
| Life/Safety | Check all Fire Extinguishers | S | X | X | X | X | X | X | X | X | X | X | X | X |
| Life/Safety | Inspect Fire Hose Stations | S | X | X | X | X | X | X | X | X | X | X | X | X |
| Life/Safety | Monthly Check on Fire Safety System | S | X | X | X | X | X | X | X | X | X | X | X | X |
| Inspect. | Inspect Stairs and Rails | S | X | X | X | X | X | X | X | X | X | X | X | X |

Maintenance Check List

| Building: | Building Operator: CFDI |
| --- | --- |
| Legend: PM = Prop Manager S = Site Staff | C = Contractor |
| X = Suggested Month |  |

| Maintenance Type | Work to be Completed | By | J | F | M | A | M | J | J | A | S | O | N | D |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Multiple frequencies / year |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Janitor. | Power Sweep/Wash Underground | C |  |  |  |  |  |  | X |  |  |  |  |  |
| Mech. | Garage Door Service | C |  | X |  |  | X |  |  | X |  |  | X |  |
| Grounds | Clean catch basins of debris & ice | C |  |  |  |  |  |  | X |  |  |  |  |  |
| HVAC | Lubricate Motors, Pumps & Fans | C |  |  |  |  |  | X |  |  | X |  |  | X |
| Janitor. | Shampoo Carpets | C |  |  |  | X |  |  |  | X |  |  |  | X |
| Life/Safety | Checks on Fire Safety Systems | C |  |  |  |  |  |  |  |  | X |  |  |  |
| Inspect. | Stock Order | PM | X |  |  | X |  |  | X |  |  | X |  |  |
| Life/Safety | Fire Drills | S |  |  |  |  |  |  |  | X |  |  |  |  |
| Inspect. | Inspect Lawn Mower | C |  |  | X |  |  | X |  | X |  |  |  |  |
| Mech. | Perform Maint. on Air Compress. | S | X |  |  | X |  |  | X |  |  | X |  |  |
| Inspect. | Inspect Benches, Planters, Tree guards | S |  | X |  | X |  | X |  | X |  | X |  | X |
| HVAC | Water Treatment | C |  |  | X |  |  | X |  |  | X |  |  | X |
| Janitor. | Wash Light Fixtures | S |  | X |  |  | X |  |  | X |  |  | X |  |
| Life/Safety | Vacuum Smoke Detectors | S |  | X |  |  | X |  |  | X |  |  | X |  |
| Inspect. | Update Building Inventory | S | X |  |  | X |  |  | X |  |  | X |  |  |
| Inspect. | Inspect Exterior Painting | PM |  |  | X |  |  | X |  |  | X |  |  | X |
| Inspect. | Inspect Signs/Fences | PM |  |  | X |  |  | X |  |  | X |  |  | X |
| Grounds | Inspect All Sidewalks | S |  |  | X |  |  |  |  |  | X |  |  |  |
| Grounds | Inspect Retaining Walls | S |  |  | X |  |  |  |  |  | X |  |  |  |
|  | Semi-Annually |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Grounds | Power sweep Outside | C |  |  |  |  | X |  |  |  |  |  | X |  |
| Grounds | Fertilize Lawn | C |  |  |  | X |  |  | X |  |  | X |  |  |
| Grounds | Weed Spray (as required) | C |  |  |  |  |  |  |  |  |  |  |  |  |
| Grounds | Prune Landscaping (spring & fall) | C |  |  |  |  | X |  |  |  |  |  | X |  |
| HVAC | Inspect Coils, Ducts and Dampers | C |  |  |  |  | X |  |  |  |  |  | X |  |
| HVAC | Fan Coil Maintenance | C |  |  |  | X |  |  |  |  |  | X |  |  |
| Janitor. | Int. Catch Basin Cleaning | C |  |  |  |  |  |  | X |  |  |  |  |  |
| Life/Safety | Checks on Fire Safety Systems | C |  |  |  |  |  |  |  |  |  |  |  |  |
| Mech. | Compactor Maintenance | C |  |  |  |  | X |  |  |  |  |  |  |  |
| Mech. | Emerg. Generator Service | C |  |  | X |  |  |  |  |  |  |  | X |  |
| Mech. | Emerg. Gen. Load Test & Oil Analysis | C |  |  |  |  |  |  | X |  |  |  |  |  |
| Inspect. | Inspect Roof, Eavestrough | S |  |  |  |  |  | X |  |  |  |  |  |  |
| Mech. | Service and Clean Clothes Dryers | S |  |  |  |  |  |  |  |  |  |  |  |  |
| Inspect. | Inspect Doors and Windows | C |  |  |  |  | X |  |  |  |  |  | X |  |
| HVAC | Lubricate D/X Systems | C |  |  |  | X |  |  |  |  |  | X |  |  |
| HVAC | Check Boiler Controls & Sensors | C |  |  |  | X |  |  |  |  |  | X |  |  |
| Mech | Laundry Vents Vacuumed | C |  |  |  | X |  |  |  |  |  | X |  |  |

Maintenance Check List

| Building: | Building Operator: CFDI |
| --- | --- |
| Legend: PM = Prop Manager S = Site Staff | C = Contractor |
| X = Suggested Month |  |

| Maintenance Type | Work to be Completed | By | J | F | M | A | M | J | J | A | S | O | N | D |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Annually |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Grounds | Add Topsoil | C |  |  |  |  | X |  |  |  |  |  |  |  |
| Grounds | Turn Lawn Sprinkler System On | C |  |  |  |  | X |  |  |  |  |  |  |  |
| Grounds | Turn Lawn Sprinkler System Off | C |  |  |  |  |  |  |  |  |  | X |  |  |
| Grounds | Replace Winter Kill | C |  |  |  |  | X |  |  |  |  |  |  |  |
| Grounds | Spring Cleanup | C |  |  |  | X |  |  |  |  |  |  |  |  |
| Grounds | Fall Cleanup | C |  |  |  |  |  |  |  |  |  | X |  |  |
| Grounds | Plant Flowers | C |  |  |  |  | X |  |  |  |  |  |  |  |
| Grounds | Spring Fertilization | C |  |  |  | X |  |  |  |  |  |  |  |  |
| Grounds | Fall Fertilization | C |  |  |  |  |  |  |  |  |  | X |  |  |
| Grounds | Prune Trees and Shrubs | C |  |  |  |  | X |  |  |  |  |  | X |  |
| Grounds | Ext. Catch Basin Cleaning | C |  |  |  |  |  |  | X |  |  |  |  |  |
| Janitor. | Major Carpet Cleaning (steam-clean) | C |  |  |  | X |  |  |  |  |  |  |  |  |
| Inspect. | Inspect All Water Hoses | S |  |  |  |  |  | X |  |  |  |  |  |  |
| Inspect. | Parking Lot Line Painting | C |  |  | X |  |  |  |  |  |  |  |  |  |
| Inspect. | Ramp Inspection | S |  |  |  |  |  |  | X |  |  |  |  |  |
| Janitor. | Clean Garage Exhaust Pits | S |  |  |  |  |  |  | X |  |  |  |  |  |
| Janitor. | Exterior Window Cleaning | C |  |  |  |  |  |  | X |  |  |  |  |  |
| Janitor. | Garbage Bin/Chute Cleaning | C |  |  |  |  |  |  |  | X |  |  |  |  |
| Mech. | Maintenance on Snow Blower | C |  |  |  |  |  |  |  |  |  | X |  |  |
| Admin. | Revise Annual Operational Check list | PM | X |  |  |  |  |  |  |  |  |  |  |  |
| Admin. | Unit Inspections | S |  |  |  | X |  |  |  |  |  |  |  |  |
| Admin. | Revise Items on Monthly Planner | PM | X |  |  |  |  |  |  |  |  |  |  |  |
| Admin. | Revise Inspection Form | PM | X |  |  |  |  |  |  |  |  |  |  |  |
| Admin. | Order Salt/Calcium | PM | X |  |  |  |  |  |  |  |  | X |  |  |
| Grounds | Inspect Paving/Concrete | S |  |  |  | X |  |  |  |  |  | X |  |  |
| Admin. | Remove Christmas Decorations | S | X |  |  |  |  |  |  |  |  |  |  |  |
| Admin. | Install Christmas Decorations | S |  |  |  |  |  |  |  |  |  |  |  | X |
| Grounds | Install Nets, Insp. Playgrounds | S |  |  |  |  | X |  |  |  |  |  |  |  |
| HVAC | Clean Hot Water Tanks | C |  |  |  |  |  |  | X |  |  |  |  |  |
| HVAC | Clean Heat Exchangers | C |  |  |  |  |  |  | X |  |  |  |  |  |
| Inspect. | Inspect Roof Anchors | C |  |  |  | X |  |  |  |  |  |  |  |  |
| Inspect. | Roof Inspection | C |  |  |  | X |  |  |  |  |  |  |  |  |
| Life/Safety | Fire Safety Equipment Inspection | C |  |  |  |  |  |  |  |  | X |  |  |  |
| Life/Safety | Fire Extinguishers Inspection | C |  |  |  |  |  |  |  |  | X |  |  |  |
| Life/Safety | Checks on Fire Safety Systems | C |  |  |  |  |  |  |  |  | X |  |  |  |

Maintenance Check List

| Building: | Building Operator: CFDI |
| --- | --- |
| Legend: PM = Prop Manager S = Site Staff | C = Contractor |
| X = Suggested Month |  |

| Maintenance Type | Work to be Completed | By | J | F | M | A | M | J | J | A | S | O | N | D |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Annually |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Mech. | Turn On Ramp Heating System | S |  |  |  |  |  |  |  |  |  |  | X |  |
| Mech. | Turn Off Ramp Heating System | S |  |  |  | X |  |  |  |  |  |  |  |  |
| Mech. | Tighten Over 200 Amp Connections | C |  | X |  |  |  |  |  |  |  |  |  |  |
| Mech. | Service Video Equipment | C | X |  |  |  |  |  |  |  |  |  |  |  |
| Mech. | Flush Horizontal/Vertical Drains | C |  |  |  |  |  | X |  |  |  |  |  |  |
| Mech. | Sump Pits/Catch Basin Cleaning | C |  |  |  |  |  | X |  |  |  |  |  |  |
| Mech. | Open Pool | C |  |  |  |  |  | X |  |  |  |  |  |  |
| Mech. | Winterize Pool | C |  |  |  |  |  |  |  |  | X |  |  |  |
| Mech. | Power Wash Horizontal Drains | C |  |  | X |  |  |  |  |  |  |  |  |  |
| Mech. | Service Backflow Preventors | C |  |  |  | X |  |  |  |  |  |  |  |  |
| Mech. | Clean Pump Strainers on all Pumps | C |  |  |  |  |  |  | X |  |  |  |  |  |
| Admin. | Connect Pool Phone | PM |  |  |  |  |  | X |  |  |  |  |  |  |
| Admin. | Disconnect Pool Phone | PM |  |  |  |  |  |  |  |  | X |  |  |  |
| Inspect. | Inspect grout/caulking-showers | S |  |  |  |  |  |  |  |  |  | X |  |  |
| Inspect. | Check Structural Integrity Foundation | S |  |  |  |  |  |  |  | X |  |  |  |  |
| HVAC | Furnace Cleaning | C |  |  |  |  |  |  |  |  | X | X |  |  |
| Mech. | Drain All Exterior Hose Bibs | S |  |  |  |  |  |  |  |  |  | X |  |  |
| HVAC | Heating Changeover | C |  |  |  |  |  |  |  |  |  | X |  |  |
| Grounds | Basement Waterproofing | C |  |  |  | X |  |  |  |  |  |  |  |  |
| Mech. | Sanitary Drain Power Flushing | C |  |  |  |  |  |  |  |  | X |  |  |  |
| HVAC | Cooling Changeover | C |  |  |  |  | X |  |  |  |  |  |  |  |
| Janitor. | Strip, Seal and Wax Vinyl Floors | C |  |  |  |  |  |  | X |  |  |  |  |  |
| Grounds | Eavestrough and Scoper cleaning | S |  |  |  |  |  |  |  |  |  |  | X |  |
| HVAC | Clean All Boilers | C |  |  |  |  |  | X |  |  |  |  |  |  |
| HVAC | Have Boilers Tested for Efficiency | C | X |  |  |  |  |  |  |  |  |  |  |  |
| HVAC | Winterize Chiller | C |  |  |  |  |  |  |  |  |  | X |  |  |
| HVAC | Start / Perform Maint. on Chiller | C |  | X |  |  |  |  |  |  |  |  |  |  |
| HVAC | Perform Cooling Tower Maintenance | C |  |  | X |  |  |  |  |  |  |  |  |  |
| Inspect. | Perform Thermal Scan of Roof (5 yrs) | C | X |  |  |  |  |  |  |  |  |  |  |  |
| Life/Safety | Inspect Fire Doors and Fire Dampers | C |  |  |  |  |  |  |  |  | X |  |  |  |
| Life/Safety | Hydrostatic Test Extinguishers (5 yrs) | C |  |  |  |  |  |  |  |  | X |  |  |  |
| Life/Safety | Empty & Test all Fire Ext. (6 yrs) | C |  |  |  |  |  |  |  |  | X |  |  |  |
| Life/Safety | Hydrostatic Test Dry Chem Ext 12 yrs | C |  |  |  |  |  |  |  |  | X |  |  |  |
| Life/Safety | Test Dry Pipe Sys. Obstructions 15 yr | C |  |  |  |  |  |  |  |  | X |  |  |  |
| Life/Safety | Test Dry Pipe Standpipe (5 yrs) | C |  |  |  |  |  |  |  |  | X |  |  |  |
| Life/Safety | Checks on Fire Safety Systems (2 yrs) | C |  |  |  |  |  |  |  |  | X |  |  |  |
| Mech. | Power Wash Kitchen Stacks (2-3 yrs) | C |  |  |  |  |  | X |  |  |  |  |  |  |
| Mech. | Replace Faucet Washers (2 yrs) | S | X |  |  |  |  |  |  |  |  |  |  |  |
| Life/Safety | Fire Hydrant Flow Test | C |  |  |  |  | X |  |  |  |  |  |  |  |