# Foreword

Increasingly, the management of assets in private and broader public sectors is gaining greater and greater attention.  This is due, in part, to the need to reduce escalating cost-pressures on all fronts - as well as to address the need for sustainability and energy conservation, and protect public investments in capital assets.  There is also a strong commitment to ensure social housing tenants/members have safe and healthy built environments – with standards supporting a quality of life similar to the broader society.

The Asset Management Centre (AMC) will be providing the tools, resources and consistent standards necessary for housing providers and municipal service managers to address their capital repair needs. This RFP is one of many tools that will be available through AMC.

# Acknowledgements

Sector partners on the AMC Steering Committee, the AMC technical sub-committee and Green Light on a Better Environment (GLOBE) have made valuable contributions to this template and support and encourage the development and use of these standard materials sector-wide.

Special thanks go to SHSC and SHSC Financial Inc. for providing the templates for the AMC to modify according to input from the many housing provider and service manager volunteers.  In addition, special thanks also go to GLOBE for collaborating on the production of this document and for contributing its energy audit template so that we can provide you with a comprehensive RFP document.

Thanks go out to the following service managers and housing providers who provided insightful comments and feedback on these materials:

Deb Firmin, Niagara Regional Housing

Alain Lacelle, The United Counties of Prescott and Russell

Debbie Mills, Algoma District Social Services Administration Board

Harri Makivirta, Virta Energy Management Services Inc.

Service managers and housing providers who worked with the technical committee on reviewing these materials.

Copyright

Originally created by the SHSC Financial Inc. (SHSCFI)

Modified by the Asset Management Centre (AMC) and Green Light on a Better Environment Inc. (GLOBE)

Copyright © 2008-2009 Asset Management Centre (AMC). All rights reserved.

# Table of Contents

| Introduction…….………………………………………………………………………………………………... | 1 |
| --- | --- |
| AMC Energy Audit Request for Proposal Template………………………………………………………… | 2 |
| What is Asset Management? …………………………………………………………………………………. | 2 |
| Why is Energy Consumption Reduction So Important? …………………………………………………… | 3 |
| Getting Started …………………………………………………………………………………………………. | 3 |
| Energy Audit - Request for Proposal (RFP)…………………………………………………………….… | 4 |
| 1. Call for Bids…………………………………….…………………………………………………………….. | 4 |
| 2. The Property...……………………………………………………………………………………………….. | 4 |
| 3. Qualification of Bidders……………………………………………………………………………………… | 4 |
| 4. Compliance with Applicable Laws…………………………………………………………………………. | 4 |
| 5. Notes on Standard of Replacement……………………………………………………………………… | 4 |
| 6. Housing Provider Representative………………………………………………………………………….. | 5 |
| 7. Scope of Work: Energy Audit………………………………………………………………………………. | 5 |
| 8. Assessment of Property…………………………………………………………………………………….. | 5 |
| 8.1 Visual Examination………………………………………………………………………………….. | 6 |
| 8.2 Arranging for Entry………………………………………………………………………………….. | 6 |
| 8.3 Handling Non-Compliance…………………………………………………………………………. | 6 |
| 8.4 Designated Substances……………………………………………………………………………. | 7 |
| 8.5 Energy Audit – Assessment of Building Elements and Systems and Operational…………... | 7 |
| Measures to Improve Energy and Water Efficiency…………………………………………….. | 8 |
| 9. Recommended Energy Improvements…………………………………………………………………….. | 8 |
| 10. Deliverables…………………………………………………………………………………………………. | 8 |
| 10.1 Contents of an Energy Audit……………………………………………………………………... | 8 |
| 10.2 Format of an Energy Audit Report………………………………………………………………. | 9 |
| 11. Housing Provider Representative ………………………………………………………………………… | 9 |
| 12. Process for Work on an Energy Audit……………………………………………………………………. | 9 |
| 12.1 Role of Housing Provider…………………………………………………………………………. | 9 |
| 12.2 Role of Consultant…………………………………………………………………………………. | 10 |
| 13. Confidentiality……………………………………………………………………………………………….. | 10 |
| 14. Bid Submission Requirements, Selection and Schedule………………………………………………. | 10 |
| 15. Evaluation Criteria………………………………………………………………………………………….. | 11 |
| 15.1 Contract Award and Execution…………………………………………………………………... | 12 |

# Appendices

Appendix A – 	Description of Properties to be Reviewed

Appendix B – 	AMC-GLOBE Energy Audit

Appendix C – 	AMC-GLOBE Energy Audit Template

Appendix D – 	Qualifications, Liability, Insurance and Conflict of Interest Provisions

Appendix E – 	Social Housing Reform Act, 2000

Appendix F – 	Form of Bid

Appendix G – 	Reference Forms

Appendix H – 	Agreement

Appendix I – 	Generic Utility Release Letters

# Introduction

In Ontario, the social housing portfolio has an approximate value of $40 billion.  In recent years there has not been a sector-wide strategy to manage this valuable capital asset.  In acknowledgement of this need, the Ministry of Municipal Affairs and Housing (MMAH) provided seed funding of $100,000 in early 2007 to establish an Asset Management Group (AMG).  The role of the AMG was to bring together stakeholders to hire consultants, cover travel expenses, and identify and meet key deliverables. The Social Housing Services Corporation (SHSC) provided an additional $150,000 in funding as well as in-kind contributions, and acts as the coordinating body.  The Ontario Non-Profit Housing Association (ONPHA) and the Co-operative Housing Federation of Canada (CHFC) have each provided $20,000 and additional in-kind contributions. The City of Toronto has also contributed in-kind, including educational materials on preventive maintenance.  It is expected that other partners will make contributions over time.

As a result of the sector’s efforts, in March 2008, the province announced $100M in funding for the 47 municipal service managers to use towards the sector in areas of emergency repairs, health and safety or energy efficiency improvements: a loan program of $500 million for housing providers, and $1 million for the establishment of an Asset Management Centre (AMC).

One of the strengths of the Asset Management Centre is that it truly represents all organizations within the sector.  Currently, the Asset Management Centre Steering Committee includes representatives from the following organizations:

Service Manager Network (the Network)

Ontario Non-Profit Housing Association (ONPHA)

Cooperative Housing Federation – Ontario Region (CHF-Ontario)

Social Housing Services Corporation (SHSC)

SHSC Financial Inc. (SHSCFI)

Ministry of Municipal Affairs and Housing (MMAH)

Local Housing Corporations (LHCs)

Canada Mortgage and Housing Corporation (CMHC)

The Agency for Cooperative Housing (the Agency)

The broad mandate of the AMC is to coordinate the efforts within the sector as a whole to set standards and develop resources for asset management.  This mandate spans from preventive maintenance through to the creation of a capital plan, with the goal of creating a sound asset management framework for social housing.  This includes identifying opportunities to plan and manage capital expenditures.

The AMC will continue to function under the accountability framework of SHSC until firmly established and self-sustaining.  It will continue to embrace principles of non-duplication, consensus building, openness and information-sharing, building on their efforts to increase capacity within the sector.  The goals of the AMC are as follows:

Create a sound social housing asset management framework that is streamlined and has consistent asset management standards endorsed by members of the AMC

Identify opportunities and approaches to plan and manage capital expenditures

Address a broad spectrum of asset management issues from preventive maintenance to the creation of capital plans

Develop asset management capacity and resources through training and identification or development of good/best practices

Assemble and maintain critical sector-wide information to support financial and business decision-making and planning on a province-wide basis

# AMC Energy Audit Request for Proposal Template

In keeping with the goals of the AMC, this template has been endorsed by its membership and is a tool to be used by the sector to begin to develop and support standard practices.  Your feedback and comments are greatly appreciated.  Send comments by email to the AMC c/o SHSC at feedback@shscorp.ca.

The AMC intends to provide the tools, resources and consistent standards necessary for housing providers and municipal service managers to address their capital repair needs, and ensure that these public assets are well-managed for both present and future generations.

The AMC has published this request for proposal (RFP) template and companion software in cooperation with GLOBE. Together, these tools are intended to create a standard approach for service managers and housing providers to use when purchasing technical expertise and beginning the important process of developing plans to better manage assets over the longer term.  In recognition of the increasing focus on efforts about the benefits of reducing the energy footprint by governments, corporations, and citizens, the template also contains an energy audit component.

This Request for an Energy Audit Template is for your use. This template serves as a guide to assist you in hiring the right consultant to undertake a comprehensive energy audit and to identify opportunities for energy savings. You should end up with a comprehensive, living document that is representative of the current status of your capital assets and energy usage. This knowledge lets you make sound capital repair, replacement, energy and financial forecasting plans and decisions. You will be strategically positioned to provide accurate and timely forecasts, plans and reports to your board or council on an on-going basis. The information gained from an energy audit and a building condition assessment will assist you to plan,  manage and possibly extend the life cycle of your capital assets in a practical, effective manner -- and achieve both energy conservation and financial efficiencies.

The companion AMC-GLOBE Energy Audit Software has the capacity to allow housing providers and service managers to share information if so desired.  It also has standard reporting features to facilitate reports to boards and municipal councils.

Note: 	For best results, you are strongly encouraged to use the companion AMC-GLOBE Energy Audit Software that has been developed to support these templates. The AMC-GLOBE Energy Audit Software contains predetermined calculations to support a standard for energy audits in the social housing sector. Please contact the AMC at 416-594-9325 for further information, or go to the website at www.shscorp.ca.  To ensure we continue to meet your needs, it is anticipated that periodic updates of this software will be available based on user feedback.

# What is Asset Management?

Asset management is the range of activities, including capital planning and expenditures, undertaken to ensure that housing stock (asset) is maintained in good repair, meets health, safety and access standards; and, is energy-efficient and addresses the needs of the community.  Sound asset management extends the life cycle of many building components, reduces operating costs and provides a safer environment.  Asset management also supports sound financial planning.

Sound asset management depends on tools such as:

Building condition audits;

Energy audits;

Preventive maintenance plans;

Capital management/reserve plans; and

Financial, legal and human resources for effective planning and implementation.

# Why is Energy Consumption Reduction So Important?

Social housing providers in Ontario spend over $400 million a year on energy and water – their most volatile operating costs.  Soaring energy costs, combined with inefficient buildings, mean that many social housing providers are unable to address building repairs.  But energy prices also affect families directly.  Many housing residents pay their utilities themselves and energy poverty of low-income Ontario families continues to rise.

The need to reduce energy consumption also goes beyond cost. Experts believe there is a strong link between energy consumption, the creation of greenhouse gases and climate change, and climate change affects all of us.

# Getting Started

The following template has been designed so that you can copy it on to a Word document and complete it according to your own needs. If you have any questions, please contact feedback@shscorp.ca.

# Energy Audit - Request for Proposal (RFP)

# 1.   Call for Bids

[Insert name of Non-Profit Housing Corporation / Housing Co-operative/LHC and/or the Municipal Service Manager] is inviting bids from qualified consultants for an energy audit of its property [or portfolio]. The detailed Scope of Work is set out in sections 7, 8, 9 and 10.

# 2. The Property  [* Building/Portfolio]

[Insert the name of Housing Provider] is a [*] unit residential housing co-operative / non-profit housing corporation located in [insert municipality].

Note:	[* Building/Portfolio] A detailed description of the property/properties to be included in the work is included in Description of Properties to be Reviewed in Appendix A on page 14.

# 3. Qualifications of Bidders

Bidders submitting a proposal must:

Be qualified according to the requirements set out in Ontario Condominium Act Regulation 48/01 Subsection 32 (1) (attached in its current form in Appendix D – Qualifications, Liability, Insurance and Conflict of Interest Provisions

Include in the technical resources in the energy audit the names of a person or persons listed in category 3 (engineering technician/technologist) or category 5 (professional engineer) of Regulation 48/01, Subsection 32(1)

Be available to carry out the work within the timelines set out in this Call for Bids.

Not be in a conflict of interest as defined in the .Reg. 339/01 of the Social Housing Reform Act (Appendix E).

# 4.      Compliance with Applicable Laws

The selected consultant must comply with and perform all applicable obligations of all applicable laws of Ontario and Canada including the Ontario Occupational Health and Safety Act, the Ontario Workplace Safety and Insurance Act and other applicable labour laws, the Ontario Human Rights Code and the Pay Equity Act.

# 5.  Notes on Standard of Replacement

Items are to be replaced to maximize energy efficiencies may be the same standard as the original item unless:

A less expensive item is available that can perform to the same standard

A cost-benefit analysis (including energy savings) shows that replacement to a higher standard would be cost-effective

A higher standard is required because of changes to the Ontario Building Code or other applicable legislation

An item of the original standard is no longer available.

Energy efficiency, reduced energy use, and reduced water use are prime considerations. The consultant will recommend and estimate the replacement cost of capital items that consume or influence the consumption of energy and water. Recommendations and estimates will be based on current best available standards (e.g., ENERGY-STAR®).

# 6. Housing Provider Representative

[Insert name of Housing Provider] has appointed a representative who is the sole contact for the consultant selection process. All questions and requests for information by potential bidders during the preparation of their bid must be directed to the Housing Provider Representative in writing.  No other person is authorized to give information.

The Housing Provider Representative is [*]

# 7.    Scope of Work:  Energy Audit

The consultant shall conduct a review of the building [* portfolio] in order to assess the energy and water usage and shall consider opportunities for conservation of energy and water in conjunction with the need for repair and rehabilitation of the building’s systems and components.  The final report to [Insert name of Housing Provider] will provide recommendations for energy and water conservation opportunities (both capital and operational).

Where required, the final report package must use the AMC-GLOBE Energy Audit Software.  This includes an energy audit report in a format that will enable [insert name of Housing Provider] to establish and maintain an energy/utilities tracking and management system, when available, and to identify and apply for financial and other incentive programs through the Social Housing Services Corporation and GLOBE.

# 8.    Assessment of Property

The consultant’s assessment of the property will include a review of the following documents and information, if available:

All architectural, structural and mechanical and electrical drawings and specifications

All existing warranties, guarantees and service contracts

Information on replacement cycles for appliances, flooring and other in-unit items

Records of capital repairs or replacements

Maintenance and inspections records and schedules

Records of capital items added since original construction

Any previous building studies and technical reports such as BCA or energy audit or assessments

Any compliance orders

Any current contractors’ quotations for capital repairs or replacements

Records of any planned capital repairs or replacement

Any other information on known property problems

Utility expense reports and/or bills

Environmental audits concerning designated substances

The consultant must meet with [insert name of Housing Provider] and/or the service manager for a pre-audit/assessment consultation.  This meeting allows the consultant to outline to the housing provider and/or service manager the audit process and lets the service manager give the consultant further instructions on the consultant’s approach to the audit.  For example, [insert name of Housing Provider] might expect that certain things are included in the audit, such as recommendations for possible renewable energy measures (solar walls, wind turbines, etc.), and whether the buildings could support such measures.  A pre-audit/assessment consultation would deal with these types of considerations at the beginning of the process and manage expectations from the outset.

## 8.1    Visual Examination

The consultant must carry out a visual examination of the property’s capital items.  The consultant will refer to the capital items in the Catalogue of Potential Energy Measures (included below) which are to be used as a point of reference.  The consultant and the Housing Provider will jointly plan the site visits and other field work to efficiently meet the deliverables, including identifying the necessary work to complete the energy audit to industry standards. However, the consultant is responsible for creating a comprehensive inventory, appropriate for the property, of all the capital items, as-built and as installed.

The consultant is required to examine a minimum of 10% of the total number of each type of housing unit.  The specific units [*use “buildings”, for larger portfolios] to be examined will be selected by the consultant and Housing Provider jointly.

Digital photographs shall be taken to document the conditions observed during the survey and to highlight deficiencies.

Note:	If the property has elevators, include the following sentence:

“Elevator inspections should be carried out by a registered elevator inspection contractor or a qualified inspector to determine the energy efficiency of the elevator.”

The consultant shall prepare a visit survey for [tenants/members].

Important Note:  You must make clear to the [tenant/member] that the visit survey is strictly for information gathering purposes by the consultant, to assist [insert name of  Housing Provider/Service Manager] in capital asset planning. The visit is not intended to raise expectations about repair, maintenance or replacement of equipment, etc.  However, the survey provides [tenants/members] with an opportunity to verify to the consultant any problems with the various building components in their units. This survey can be expanded for larger community groups and public consultation as part of the larger study and review as per direction from [insert name of Housing Provider/Service Manager].

## 8.2   Arranging for Entry

[Insert name of Housing Provider/Service Manager] is responsible for giving all notices necessary to arrange for entry to specific units. At least one week in advance of any entry, the consultant and the Housing Provider Representative must develop a schedule to allow time to give the adequate notice to affected [tenants/members]. The consultant’s representative(s) does not /do not enter any [*tenant’s/member’s] unit except in the company of the Housing Provider’s authorized personnel.  All entries must take place on weekdays between the hours of 9:00 a.m. and 5:00 p.m., unless otherwise arranged. The consultant and its personnel must fully respect the rights and privacy of the [tenants/members].

## 8.3    Handling Non-Compliance

Where, in the course of inspection, the consultant finds evidence of non-compliance with current applicable laws and regulations such as the Ontario Building Code, Ontario Occupational Health and Safety Act and fire and safety legislation, the consultant will include this information in the Energy Audit report. The consultant, however, is not required to carry out a code compliance review.

Where, in the course of inspection or review of documents in section 7, the consultant finds evidence that:

the existing building component or equipment was not properly constructed, installed or commissioned,

the existing materials used in building component or equipment was not properly specified for their application,

the building component or equipment is not properly operated or maintained, and/or

the intended design of a building space is not utilized to suit that application,

the consultant must include this information in the Energy Audit report.

## 8.4    Designated Substances

The consultant will carry out or sub-contract for an Environmental Audit on the presence of Designated Substances and will provide the appropriate recommendations concerning remediation or monitoring of any substances. The consultant will include this information in the Capital Plan report.

## 8.5    Energy Audit – Assessment of Building Elements and Systems and Operational Measures to Improve Energy and Water Efficiency

The consultant will undertake an energy audit for the properties that are included in this RFP.  This energy audit will include reviews of the portfolio’s baseline energy characteristics, and analysis required to complete the Energy Audit Report as included in the AMC-GLOBE Energy Audit Software provided.  An energy audit covering this information provides useful knowledge for [insert name of Housing Provider], and is generally also required to access funding and other financial incentives, including those available from time to time to social housing providers, through GLOBE and other energy initiatives.   The required work to be done by the consultant includes the following:

Confirming and including in Part 2 of the Energy Audit Report, information on energy sources, utility companies, metering, and type of heating and cooling systems for all the properties included in the energy audit

Analyzing two years of electricity, natural gas and water bills to approximate the building energy baseline characteristics

Assessing all systems and components consuming energy or affecting energy consumption, and identification of potential energy savings measures for each of the building elements and systems ( operational/maintenance and capital) as outlined  in the Catalogue of Potential Energy Measures  assess and record energy use, estimate energy savings, and estimate capital costs.

Note:  The Catalogue of Potential Energy Measures*

This is s a comprehensive list for the consultant to view during the site inspection.  It is a tool for the [insert name of Housing Provider or Service Manager] to help identify measures for specific attention during the site inspection.  Not all measures will apply to every building inspected. However the list ensures no measures are being overlooked.  Complete Table (1) in the Energy Audit Report (summary of recommended building energy measures that are applicable to the specific site) including any recommended capital items with an energy focus, by indicating this in the far right-hand column of the table

Ensuring that the recommended energy-related capital items that are in the energy audit recommendations are included in the reports and spreadsheets

Identifying and recording in the Energy Audit Report any recommended changes to operational or, maintenance procedures, tenant and staff education; or, any recommendations on  the implementation of any other systems or procedures to save energy, water or other costs

Identifying and describing, where necessary, the potential grants, loans, and other available incentives for each of the items recommended in the energy audit, and include this information in the summary table of the Energy Audit Report

# 9.    Recommended Energy Improvements

The recommendations for improvements within each system identifying energy savings and opportunities will include but not be limited to the following considerations:

Identify the type of equipment that should be installed to best meet this combination of objectives:  energy savings, lowest life cycle cost including consideration of maintenance costs, durability, life expectancy, reductions in capacity or loading, indoor air quality, tenant comfort, deferred maintenance among other things.

Identify equipment that should be replaced because it is at the end of its service life or there is a legislative requirement to do so: use a type and size of equipment/system that best meets current energy and water efficiency standards as well as other considerations; and, identify incremental costs between replacing mid-efficiency vs. high-efficiency equipment to maximize energy efficiency options.

Identify equipment recommended for replacement due to potential energy savings although the components have not reached the end of their service life; include a cost benefit analysis including an energy savings analysis.

Identify and explain recommended measures that involve multiple systems resulting in greater overall efficiencies, energy- and cost-savings, and resident comfort.

The energy-related analysis shall meet the requirements of the standardized Energy Audit Report and will include the following economic assessment data: energy consumption; energy savings; cost savings; capital cost to implement; simple pay back for the measure or group of measures; and savings that will accrue for the expected lifespan of the measure(s). Include in Section B of the reporting package (below) an explanation of any assumptions and methodology that the Housing Provider will need to know to assess the recommendations.

# 10.     Deliverables

## 10.1   Contents of an Energy Audit Report

The report package to be submitted to the Housing Provider must include all of the following:

Table of contents, including a list of appendices and supporting materials

A description of the review undertaken, including its scope , the methodology used, the assumptions made, and the definitions of terms and standards used

An executive summary of major findings and recommendations for each category of capital item, including a summary of recommended energy measures from the energy audit in a form similar to that in Table 1 of the energy audit report template and in the electronic AMC-GLOBE Energy Audit Software developed by the AMC and GLOBE and includes the following detail:

  - Overview of existing equipment/systems (including photos where applicable)

  - Analysis of available options (where applicable)

  - Recommended measures (with justification)

For capital items or systems consuming energy or water or affecting energy efficiency), include the specifications of a replacement or new item recommended in the Energy Audit

A ranking of the replacement priority

Preventive maintenance recommendations, if any, to make the items last longer

A completed copy of the energy audit results, in the format included in the AMC-GLOBE Energy Audit of the RFP and in the electronic AMC-GLOBE Energy Audit Software developed by the AMC and GLOBE or as otherwise directed by the Housing Provider. The energy analysis will include all assessments and reviews by the consultant that are required to complete the full contents of the Energy Audit standardized report template that are relevant to each building in the properties included in this assignment. The review will include an assessment of all relevant operational measures and capital measures that are contained in the Catalogue of Potential Energy Measures.  Note: For purposes of the Energy Audit Report, leave blank the measures in the Catalogue of Potential Measures that do not apply to the specific building

A compact disc (CD) or equivalent storage medium designated by the Housing Provider containing all the digital photographs taken to document the conditions and deficiencies observed during the survey.

A prioritized remedial work plan that includes the portion of the report and spreadsheet showing individual items and total estimated costs of replacement (in current dollars) will be provided in different scenarios as follows:  Energy Audit Program; identifying potential incentive/grants to offset potential capital costs.

## 10.2       Format of an Energy Audit Report

The consultant will give the Housing Provider:

two * hard copies of the reporting package outlined above, including the results of the  Energy Audit (summaries, data sheets, and spreadsheets in the format developed by the AMC and GLOBE),

one * electronic copy of all parts of the reporting package in a format specified by [insert name of Housing Provider], and

one * copy of all digital photographs taken during the assignment.

Note:	insert # of copies your organization requires.

# 11.         Housing Provider Representative

[Insert name of Housing Provider] will appoint a representative who will be the principal liaison to the consultant throughout this section of the assignment, the Energy Audit, and the preparation of the draft reports.

The [insert name of Housing Provider] Representative for this work is [*].

# 12.       Process for Work on an Energy Audit

The Housing Provider works with the consultant to carry out the Energy Audit as follows.

## 12.1       Role of Housing Provider

[Insert name of Housing Provider] will make all the information set out in section 7 available to the consultant.

[Insert name of Housing Provider] will notify the Utility Company/Companies to release at least two years of energy and water data to be transferred directly into the GLOBE’s Utility Management System, when it becomes available.

In the interim, the [insert name of Housing Provider] will provide the consultant, GLOBE and Social Housing Services Corporation with either electronic copies or hard copies of energy and water data for at least two years.

Where residents pay their own utility bills, consent to access this information will be required from them. Generic utility release letters are included in Appendix I

The board of directors of [insert name of Housing Provider] will give the consultant comments on the draft Energy Audit report.

[Insert name of Housing Provider] can change the scope to reduce cost or for any other reason and negotiate lower costs with bidders.  [Insert name of Housing Provider] is not required to negotiate lower costs with all bidders.

Note:  Housing Providers and/or Service Managers must determine if this is allowed under their existing procurement guidelines.

## 12.2     Role of Consultant

The successful consultant has secure access rights to GLOBE’s Utilities Management System, when it becomes available.

The consultant will develop a schedule for the site visits (one, or more if necessary) in collaboration with the Housing Provider Representative.

The consultant carries out site visits. The Housing Provider Representative or designate will accompany the consultant during the site visits.

The consultant prepares a list of as-built and as-installed capital items applicable to the energy audit.

The consultant presents their preliminary findings to [insert name of Housing Provider]’s board of directors and provides a draft copy of its reporting package, including a complete Energy Audit report for the directors’ review.

The consultant finalizes, submits and presents the final reporting package, including final Energy Audit report to the board of directors.

.

# 13.      Confidentiality

All information concerning [insert name of Housing Provider] gathered by potential bidders during the Request for Proposal process is confidential and remains the property of [insert name of Housing Provider].

# 14.      Bid Submission Requirements, Selection and Schedule

Bidders will be invited by [insert name of Housing Provider] or [Service Manager] to undertake a preliminary site visit before submitting their bid.

Note:	Such a visit may be made mandatory as part of the bid process.

Before submitting their bid, bidders may also ask to review the electronic AMC-GLOBE Energy Audit Software input templates to be used in preparing the Energy Audit.

All bids must include the standard Form of Bid (attached as Appendix F – Form of Bid  below) duly completed and signed, and accompanied by:

an executive summary,

general information about the bidder,

a profile and qualifications of the bidder (including any sub-consultants),

no substitutions of sub-consultants without the written consent of the Housing Provider,

the name of the principal person who would have responsibility for the project and of the individuals who would carry out the work,

a proposed methodology for conducting the assessment,

a detailed work plan,

standard Form of Bid (attached as Appendix F – Form of Bid 3), and

any additional information that would provide insight into the bidder’s qualifications.

[Insert name of Housing Provider] will only evaluate complete bids.  The selected consultant will be informed not later than [*] after the closing of the Call for Bids.  All other bidders will be informed in writing of the selection result.

Only bids received by the closing [insert date/time] will be considered by [insert name of Housing Provider]. [Insert name of Housing Provider] will only evaluate complete bids. (See section15 for evaluation criteria). The selected consultant will be informed not later than [*] after the closing of the Call for Bids.  All other bidders will be informed, in writing, of the selection result.

Submitted bids must be irrevocable for 60 days following the proposal deadline.

The lowest, or any, bid need not be accepted by the Housing Provider.

[Insert name of Housing Provider] may reject any bid which fails to comply with any of the requirements of this Request for Proposal. Call for Bids. [Insert name of Housing Provider] may, in its absolute discretion, waive any deficiency, irregularity or informality in any bid or any breach of the requirements of this Call for Bids.

# 15.       Evaluation Criteria

All submissions will be reviewed by an Evaluation Committee and will be scored using the criteria specified below. At the conclusion of this review, one or more candidates will be chosen to proceed to the final selection process. The preferred successful candidate(s) identified through the final selection process may be recommended to the Board by the Evaluation Committee as the consultant to undertake the job.

| EVALUATION GRID – Energy Audit |
| --- |
| Part 1 – Evaluation of Consultant’s Response to Mandatory Requirements |
|  | Weighting | Evaluation Criteria |
| 1 | Yes/No | Proposal received on time with correct number of copies |
| 2 | Yes/No | Selected by Evaluation Committee as successful respondent to RFP |
| 3 | Yes/No | Form of Response submitted, information presented in order requested, all mandatory questions confirmed and signed by authorized representative |
| 4 | Yes/No | Attended mandatory pre bid meeting /site visit |
| If all mandatory requirements are met, evaluation of submission is made |
| Part 2 – Evaluation of Proposed Solution |
|  | Weighting | Evaluation Criteria |
| 1 | 25% | Qualifications and experience |
| 2 | 25% | Insert requirement |
| 3 | 25% | Insert requirement |
| 4 | 25% | Proposed fee |
|  | 100.00% | Phase II – Stage One – Total |

The following is the schedule for the project:

| Last date for questions from potential bidders | [enter date] |
| --- | --- |
| Call for BIDS closes and submissions due by [*] a.m. | [enter date] |
| Evaluation and selection of consultant(s) | [enter date] |
| Contract award and execution Initial site visit meeting | [enter date] |
| Site visits complete | [enter date] |
| Draft Energy Audit report presented to board of directors | [enter date] |
| Board of directors’ comments on draft Energy Audit report | [enter date] |
| Final Energy Audit report presented to board of directors | [enter date] |
|  | [enter date] |
|  | [enter date] |

[Insert name of Housing Provider] will send the bidders written notice of any change to the deadline for submitting bids.

## 15.1     Contract Award and Execution

The selected consultant will enter into an agreement with [insert name of Housing Provider] in the form, shown in Appendix H – Agreement , within ten days of receiving notice that they have been awarded the contract.

The term of the agreement may be extended, if necessary, with the mutual consent of the consultant and [insert name of Housing Provider].

The consultant will maintain the same liability insurance as specified in Subsection 32(4) of Ontario Regulation 48/01 under the Condominium Act (attached in its current form in Appendix D – Qualifications, Liability, Insurance and Conflict of Interest Provisions below).  The consultant will observe the requirements of Subsections 32(5) and (6) of that Regulation as if the work described in the Call for Bids were a reserve fund study under the Condominium Act.  Prior to execution of the agreement the successful bidder will give [insert name of Housing Provider] a certificate of the policy of liability insurance. This policy must remain in place for the duration of the contract.

The consultant will at all times comply with the Ontario Workplace Safety and Insurance Act. The consultant will provide with each request for payment a Clearance Certificate issued by the Workplace Safety and Insurance Board waiving any claim against [insert name of Housing Provider].

Both during and following the term of the work, the selected consultant must indemnify and save harmless [insert name of Housing Provider] from all costs, losses, damages, judgments, claims, demands, suits, actions or other proceedings in any manner based upon, occasioned by or attributed to anything done or omitted to be done by the consultant in connection with this work.

APPENDICES

Appendix A – 	Description of Properties to be Reviewed

Appendix B – 	AMC-GLOBE Energy Audit

Appendix C – 	AMC-GLOBE Energy Audit Template

Appendix D – 	Qualifications, Liability, Insurance and Conflict of Interest Provisions

Appendix E – 	Social Housing Reform Act, 2000

Appendix F – 	Form of Bid

Appendix G – 	Reference Forms

Appendix H – 	Agreement

Appendix I – 	Generic Utility Release Letters

Description of Properties to be Reviewed

| Address | Year Built | Construction Type(1) | Building Type (2) | Structure (3) | Funding Program (4) | # of Elevators | Type of Heating | # of Units | # of Floors | Parking Garage (Y/N) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

(1) New construction, rehabilitation, conversion (2) Apartments, townhouse; (3) Wood frame, concrete, etc.; (4)  Social Housing Reform Act, Section 95, Section 61,

# Building Type

In the following table, check off the description that most closely matches the building in question.

| Low-rise apartment | 3 storeys or less with garage |  |
| --- | --- | --- |
|  | 3 storeys or less without garage |  |
| High-rise apartment | >3 storeys with garage |  |
|  | >3 storeys without garage |  |
| Townhouse | with garage |  |
|  | without garage |  |
| Scattered unit(s) | semi-detached |  |
|  | Detached |  |
|  | Single |  |
| Mixed building types | i.e., townhouses and apartment, etc, |  |

# Appendix B –	  AMC-GLOBE Energy Audit Template

AMC Energy Audit

| Housing Provider | (name and address) |
| --- | --- |

| Energy Auditor | (Name and address) |
| --- | --- |

(Energy Auditor can insert LOGO Here)

Overview

An energy audit is a site survey of the use of energy and water in a building or organization, undertaken in order to identify opportunities for energy efficiency improvements and conservation initiatives.  Such studies are typically carried out by certified professionals.

Upon completion of the audit, a comprehensive Energy Audit report is completed containing a number of recommendations for improving the overall energy-efficiency of the building(s). The report will describe energy-savings opportunities, and summarize the estimated savings that could be expected in both energy- and water-related costs. It will also outline the estimated implementation costs and any applicable grants and incentives, and provide a summary of other benefits of undertaking energy efficiency improvements, including recommended comfort measures, operations and maintenance cost savings, renewal of plant and equipment, and reduction in emissions of greenhouse gases and other pollutants.

For more information, go to www.shscorp.ca

# Appendix C – AMC-GLOBE Energy Audit Template

The Energy Audit provides details on recommended measures identified through the site visit for consideration in the capital and energy plan.  It describes your energy savings opportunities, and presents the energy and water cost savings you can expect, along with estimated implementation costs and applicable grants, and incentives and available financing options.  It also summarizes the other benefits of undertaking energy efficiency improvements, including resident comfort, operations and maintenance cost savings, renewal of plant and equipment, and reduction in emissions of greenhouse gases and other pollutants.

This Energy Audit template report is based on the format previously used by the Social Housing Services Corporation (SHSC) in its Energy Management Green Light Initiative, which among other components provided standardized energy audits for social housing portfolios across Ontario.

The energy audit template incorporates information that is generally required for various government and utilities programs that provide funding, incentives, financing options and other energy efficiency and demand conservation programs, especially for multi-residential buildings.

Contact AMC for information on energy conservation.

390 Bay Street, Suite 710

Toronto, ON, Canada, M5H 2Y2

Phone: 416-594-9325
Toll Free: 1-800-268-4451

The following tables are samples of tables included in the AMC- GLOBE Energy Audit Software Vs. 1.0.

For more information please refer to the actual AMC-GLOBE Energy Audit Software Vs 1.0.

AMC-GLOBE Energy Audit Criteria

Part 1 – Basic Information

Part 2 – Building Information

Enter the information about the building(s) that will be involved in the energy program.   If there is more than one building, copy Part 2 and complete for each building.  Complete all sections.

*Please include account numbers where possible.  The release of information at the end of the application also requires energy account numbers

# Summary of Recommended Energy Savings Measures

This section of the Energy Audit report includes the results of the technical analysis, including summary tables, detailed calculations and recommendations:

The following information is collected in the tables included in the AMC-GLOBE Energy Audit Software an must be included in the final report to [insert name of Housing Provider/or Service Manager]:

summarizes the recommended measures to realize provider savings.

show estimated energy use, for electricity, natural gas and water, both baseline (current) and target (with the recommended measures in place), and the estimated savings.

shows the reduced greenhouse gas emissions for the proposed energy measures.

is the detailed Catalogue of Potential Energy Measures, which the consultant has used to identify candidate measures (capital and operating) to reduce energy use, with the estimated annual savings and the estimated capital costs.

shows recommendations on resident comfort, lists building renewal, and  lists operations and maintenance, and program implementation.

shows energy conservation measures by residents.

The relevant proposed measures would be included in the multi-year Capital Replacement Plan for the Housing Provider, along with the Building Condition Assessment, and in the Provider’s Capital Reserve Fund Forecast.

3B Analysis and Recommendations

Executive Summary Chart – Common Areas and In -Suite

Executive Summary Chart – Common Areas and In-Suite

# Energy Conservation by Residents | Historical Energy Usage/Baseline – Common Areas |   Historical Energy Usage/Baseline – In-Suite Areas

Historical Energy Usage/Baseline – Summary of Common Areas and In-Suite

# Recommended / Proposed Upgrades

For each category of energy/water-saving measure, the auditor will provide the following detail:

- Overview of existing equipment/systems (including photos where applicable)

- Analysis of available options (where applicable)

- Recommended measure (with justification)

Recommended Comfort Measures

Recommended measures which will improve comfort conditions in the building, as well as saving energy,

Recommended Building Renewal Measures

Recommended measures which also renew the building and its plant and equipment, and thereby offset future capital requirements

Recommended Operations & Maintenance Measures
Recommended measures which also reduce or (increase) operating and maintenance costs, as well as lower energy costs

Program Implementation

Describe any considerations to be made in the planning and implementation of the program.

Catalogue of Potential Energy Measures

This is a comprehensive list of potential measures under each category to be considered during the energy audit site visit.  This list is meant to be used as a guide for both [insert name of Housing Provider] and energy auditor and it is understood that not all measures are applicable to every building.  The Auditor must review all measures to determine if applicable and only those deemed applicable will be included in the final Energy Audit Report.

The following is a sample of the Catalogue of Potential Energy Measures included in the AMC-GLOBE Energy Audit Software Vs. 1.0.

For more information please refer to the actual AMC-GLOBE Energy Audit Software Vs 1.0.

Verification of data:

Disturbance of Residents (entry into units, interruption of services):

Timing of work:

Availability of Resources:

Project management:

Coordination with other work:

Other:

Appendix D - Qualifications, Liability, Insurance and Conflict of Interest Provisions

# Condominium Act Regulation 48/01 General

PART IV: RESERVE FUND STUDIES

Person Conducting Study

[Qualifications]

32 (1) Subject to subsection (2), the following classes are prescribed as persons who may conduct a reserve fund study:

  - Members of the Appraisal Institute of Canada holding the designation of Accredited Appraiser Canadian Institute

  - Persons who hold a certificate of practice within the meaning of the Architects Act

  - Members of the Ontario Association of Certified Engineering Technicians and Technologists who are registered as certified engineering technologists under the Ontario Association of Certified Engineering Technicians and Technologists Act, 1998

  - Members of the Real Estate Institute of Canada holding the designation of certified reserve planner

  - Persons who hold a certificate of authorization within the meaning of the Professional Engineers Act

  - Graduates of Ryerson Polytechnic University with a Bachelor of Technology (Architectural Science) – Building Science Option or Architecture Option

  - Members of the Canadian Institute of Quantity Surveyors holding the designation of professional quantity surveyor

  - Members of the Association of Architectural Technologists of Ontario holding the designation of architectural technologist, architecte-technologue or registered building technologist under the Association of Architectural Technologists of Ontario Act, 1996. O. Reg. 48/01, s. 32 (1)

Liability Insurance]

32 (4) A person who conducts a reserve fund study shall be insured under a policy of liability insurance that includes

(a) coverage for liability for errors, omissions and negligent acts arising out of conducting or not conducting a reserve fund study, subject to the exclusions,  conditions and terms that are consistent with normal insurance industry practice;

(b) a policy limit for each single claim of not less than $1 million per occurrence;

(c) an aggregate policy limit in the amount of not less than $2 million per year for all claims in the year or an automatic policy limit reinstatement feature; and

(d) a maximum deductible amount of $3,500 per occurrence. O. Reg. 48/01, s. 32 (4).

# Appendix E – Social Housing Reform Act, 2000

# Social Housing Reform Act, 2000 Regulation 339/01

PART II: CORPORATE GOVERNANCE

Conflict of interest

- This section applies to a housing provider in addition to the provisions of the Act listed in subsection 3 (1) to which The Housing Provider is subject.

A conflict of interest exists if any of the following situations occur:

The personal or business interests of a director, officer, agent or employee of a housing provider are in conflict with the interests of The Housing Provider.

A personal gain, benefit, advantage or privilege is directly or indirectly given to or received by a director, officer, agent or employee of The Housing Provider or a person related to one of them as a result of a decision by The Housing Provider.

A director, officer, agent or employee of The Housing Provider shall not enter into any situation, arrangement or agreement which results in a conflict of interest.

Directors, officers, agents and employees of The Housing Provider must notify the chair of the board of directors of The Housing Provider of every potential or actual conflict of interest no later than the first meeting of the board after the director, officer, agent or employee becomes aware that he or she has entered into a situation, arrangement or agreement that results in or may result in a conflict of interest.

The board of directors shall consider the notice given under subsection (4) no later than the second meeting of the board after the notice is given and consideration of the notice must be reflected in the minutes of the meeting.

The chair of the board shall notify the Service Manager in writing of the receipt of every notice under subsection (4) and the board of directors shall resolve every conflict of interest or potential conflict of interest to the satisfaction of Service Manager.

Despite subsection (3), a director, officer, agent or employee or a person related to one of them may directly or indirectly receive a gain, benefit, advantage, privilege or remuneration from The Housing Provider if all of the following conditions are satisfied:

A notice of the conflict of interest or potential conflict of interest is given in accordance with subsection (4).

Service Manager agrees that there is no reasonable alternative for The Housing Provider other than entering into the situation, arrangement or agreement that results in or may result in the conflict of interest.

For the purposes of this section, a person related to a director, officer, agent or employee includes a parent, spouse, same-sex partner, child, household member, sibling, uncle, aunt, nephew, niece, mother-in-law, father-in-law sister-in-law, brother-in-law or grandparent, or a person with whom the director, officer, agent or employee has a business relationship.

In this section,

"child", in relation to an individual, means a child of the individual born within or outside marriage (unless that child has been adopted by one or more other individuals in Ontario or according to the law of another jurisdiction), a child adopted by the individual in Ontario or according to the law of another jurisdiction, and a child whom the individual has demonstrated a settled intention to treat as a child of his or her family, but does not include a child placed in the individual's home as a foster child for consideration by another person having lawful custody;

"parent", in relation to an individual, means a natural parent of the individual (unless the individual has been adopted by one or more other persons in Ontario or according to the law of another jurisdiction), an adoptive parent of the individual who has adopted the individual in Ontario or according to the law of another jurisdiction, and a person who has demonstrated a settled intention to treat the individual as a child of his or her family, but does not include a person in whose home the individual has been placed as a foster child for consideration by another person having lawful custody;

"same-sex partner", in relation to a person, means, 
(a)	an individual of the same sex as the person, if the individual and the person have together advised The Housing Provider that they are same-sex partners, or 
(b)	an individual of the same sex as the person who resides in the same dwelling place as the person, if the social and familial aspects of the relationship between the individual and the person amount to cohabitation and,

(i) the individual is providing financial support to the person,

(ii) the person is providing financial support to the individual, or

(iii) the individual and the person have a mutual agreement or arrangement regarding their financial affairs;

"spouse", in relation to a person, means, 
(a)	an individual of the opposite sex to the person, if the individual and the person have together advised The Housing Provider that they are spouses, or 
(b)	an individual of the opposite sex to the person who is residing in the same dwelling place as the person, if the social and familial aspects of the relationship between the individual and the person amount to cohabitation and,

(i) the individual is providing financial support to the person,

(ii) the person is providing financial support to the individual, or

(iii) the individual and the person have a mutual agreement or arrangement regarding their financial affairs.

Replacement of Conflict of Interest Rules

The conflict of interest provisions set out in section 4 may be replaced for a housing provider by rules agreed to by The Housing Provider and Service Manager for all areas in which its housing projects are located, in accordance with subsection 93 (3) of the Act.

# Appendix F – Form of Bid

# Form of Bid

[the consultant’s registered legal business name and mailing address]

Phone: [telephone number]

Fax: [fax number]

Contact: [contact person]

Housing provider: [name of housing provider]

We hereby offer to perform the Energy Audit Report  as described in the Call for Bids issued by [insert name of  Housing Provider] dated [enter date] as modified by the following addenda:

- List addenda or insert “None”

On the terms and conditions and within the timeframe, stated in the Call for Bids at the fixed price of [*] Dollars ($) this price includes Goods and Services Tax and all expenses and disbursements.

- We declare and agree to the following:

we have carefully examined the Call for Bids, including any addenda

we understand the work required under the Call for Bids

we understand and agree to the terms and conditions included in the Call for Bids

we enclose with this offer all items that are required to be submitted with this offer under the Calls for Bids

this offer is irrevocable by us for a period of 30 days after the submission deadline stated in the Call for Bids.

- We authorize [insert name of Housing Provider] to perform reference checks using the references listed in the Reference Form.

- We confirm that we meet the qualifications for carrying out a Building Condition Assessment established in Ontario Condominium Act Regulation 48/01 subsection 32 (1).

- We confirm that we meet the qualifications for carrying out an Energy Audit, as specified by [insert name of Housing Provider] and this bid document.

- We confirm that we do not have any conflict of interest in connection with this bid as described in Sections 4 and 5 of Ontario Regulation 339/01 under the Ontario Social Housing Reform Act, 2000 (attached in its current form in Appendix E – Social Housing Reform Act, 2000, above). If any conflict of interest should subsequently arise, we will promptly report it under that section in the same manner as if we were an agent of [insert name of Housing Provider] and act on all reasonable directions of the Housing Provider.

- We agree to keep secret all information concerning [insert name of Housing Provider] in accordance with section 4 of the Call for Bids.

- We agree that, if our bid is accepted, we will execute an agreement with [insert name of Housing Provider in accordance with the Call for Bids.

- We agree, if our bid is accepted, to provide proof of insurance coverage as required by the Call for Bids prior to execution of the agreement.

Accompanying this bid are the following:

an executive summary

general information about the bidder

profile and qualifications of the bidder (including any sub-consultants)

name of the principal person who would have responsibility for the project and of the individuals who would carry out the work

proposed methodology for conducting the assessment

CONSULTANT:	[*] INC.

}	By:	_________________________________

}		[enter name]

}		[enter title]

}		 have authority to bind the Corporation

Date: [enter date]

}		_________________________________

}		[enter name]

}		[enter title]

}		 have authority to bind the Corporation

# Appendix G - Reference Forms

Reference Form

Three clients for whom the consultant has provided similar services (Building Condition Assessments, Energy Audits, and Reserve Fund Forecasts) in the past three years are requested as references.

REFERENCE # 1

Client:      	Telephone:

Address:

Nature of Project:

Date of Project: [insert date]

REFERENCE # 2

Client:      	Telephone:

Address:

Nature of Project:

Date of Project: [insert date]

REFERENCE # 3

Client:      	Telephone:

Address:

Nature of Project:

Date of Project: [insert date]

# Appendix H – Agreement

Agreement for an Energy Audit

# This agreement made on (enter date)

# BETWEEN

[*Name of Housing Provider]

(the client)

# AND

[* name of the Consultant]

(the consultant)

- Acceptance of Bid

The [*name of Housing Provider] (the Client) accepts the [*name of Consultant] (the Consultant) bid dated [*enter date of Bid] to provide the Client with an Energy Audit for the Client’s property situated at [enter address(es)], subject to the following changes:

- [list changes or insert “none”]

The Consultants Bid and the Client’s Call for Bids is attached to this Agreement as Schedules 1 and 2 and form part of it.

The Consultant agrees to perform the obligations under this Agreement and agrees to perform them within the timelines stated in the Call for Bids.

- Fees

The Client agrees to pay the Consultant the sum of [*] Dollars ($CDN).   This price includes Goods and Services Tax and all expenses and disbursements.  One half of the will be paid within 30 days of submission by the Consultant to the Client of a satisfactory first draft of the Energy Audit report together with the invoice.  The balance will be paid within 30 days of the submission by the Consultant to the Client a satisfactory final Energy Audit reports and a copy of the completed AMC/GLOBE Energy Audit Software

- Client’s Representative(s)

The Client’s representative for the purpose of the Energy Audit will be [*enter name of Housing Provider’s representative].

- Consultants Personnel

The persons named in the Consultants Bid as the persons who will have responsibility for the project and the individuals who will carry out the work may not be changed without the written consent of the Client.

- Relationship of the Parties

Nothing in this Agreement will create any partnership, joint venture, agency, trust or other relationship between the parties.  It is agreed that their relations are entirely contractual as set out in this agreement.  Neither of the parties has the authority to bind the other or to commit in any way, except as specifically stated in this Agreement.

- Entire Agreement

This Agreement and the documentation and materials referred to in this Agreement contain the entire agreement between the parties.  No change or waiver under this Agreement will be binding unless it is in writing and signed by the party that is bound by it.

- Assignment

This Agreement may not be assigned or subcontracted by either party without the prior written consent of the other.

- Confidentiality

The Consultant will, both during the term of this Agreement and after completion or termination of this Agreement, keep confidential any information about the Client, the Client’s property, activities, and business and the Client’s residents and their units, which the Consultant may learn about during the term of this Agreement.  All such information will remain the property of the Client or the Client’s residents.

- Termination

If either party is in default under this agreement, the other may give them one week’s written notice of default.  Unless the default is cured within the one-week period, the party that gave the default notice, in addition to any other remedy it may have, may terminate the Agreement by a written termination notice on delivery of the termination notice.

- Consultant’s Insurance

Prior to signing this Agreement, the Consultant will provide the Client with a certificate of liability insurance required under the Call for Bids.

11. Signing this Agreement

This Agreement may be signed by facsimile.  Each party can sign a separate copy of this Agreement.

# SIGNED:

CONSULTANT		} [enter name of consultant*] Inc.

} By: __________________________________

}       (enter name)

}         (enter title)

}       I have the authority to bind the Corporation

Date: (enter date)

} By: ____________________________________

}       (enter name)

}          (enter title)

}       I have the authority to bind the Corporation

CLIENT			} [*enter name of housing provider]

} By: __________________________________

}       (enter name)

}         (enter title)

}       I have the authority to bind the Corporation

Date: (enter date)

} By: ____________________________________

}       (enter name)

}          (enter title)

}       I have the authority to bind the Corporation

# Appendix I – Generic Utility Release Letters

The following Generic Release Letters are suggested wording for tenants/members to complete if they pay for the utility costs.

USE HOUSING PROVIDER LETTERHEAD

Electricity Billing Data Release Letter (tenant/Member)

Address: ____________________________

Unit #: ______________________________

Provider Name:  _____________________________

Phone #:____________________________________

City/Town:___________________________________

Postal Code: _________________________________

Electricity Account #: _________________________________

To:  Billing Department

The above building and unit # are associated with the [Housing Provider name].  This energy audit is aimed at improving energy and water efficiency. In order to perform the analysis necessary, we agree to provide our electricity billing data for the past two years up to the most recent data available on an ongoing basis, until further notice. We understand that [housing provider] and its authorized energy consultants are using this utility billing data solely for the purposes of completing the energy audit.  All data is to be treated in confidence and not released to other parties, other than the Consultant or the Social Housing Services Corporation.

Therefore I, the undersigned, authorize

___________________________________________________________________

(Name of utility company on your hydro bill)

Utility Address:  _____________________________________________________

Utility Phone:_______________________________________________________

to release utility data for the aforementioned building and associated account numbers directly to the [the housing provider] .

Questions:   Please contact a [provider representative] at [Housing Provider] or [email] or [enter phone number] Your help is greatly appreciated.

___________________________________________________

Signature: (person whose name appears on utility bill)

___________________________________________________

Please also print name

USE HOUSING PROVIDER LETTERHEAD

Gas Billing Data Release Letter (tenant/member)

Address: ____________________________

Unit #:_____________________________________

Provider Name: ______________________________

Phone #:__________________________________

City/Town:  __________________________________

Postal Code:  ________________________________

Gas Account #:	_________________________________

To:  Billing Department

The above building and unit # are associated with the [housing provider name] energy audit.  This energy audit is aimed at improving energy and water efficiency. In order to perform the analysis necessary we agree to provide our gas billing data for the past two years up to the most recent data available on an ongoing basis, until further notice. We understand that [provider name] and its authorized energy consultants are using this utility billing data solely for the purposes of the energy audit. All data is to be treated in confidence and not released to other parties, other than the Consultant or the Social Housing Services Corporation.

Therefore I, the undersigned, authorize

___________________________________________________________________

(Name of utility company on your gas bill)

Utility Address:  ______________________________________________________

Utility Phone: ________________________________________________________

to release utility data for the aforementioned building and associated account. numbers directly to the [housing provider].

Questions:  Please contact a [provider representative] from [Housing Provider]at [enter phone number] or[email] Your help is greatly appreciated.

___________________________________________________

Signature: (person whose name appears on utility bill)

___________________________________________________

Please also print name

USE HOUSING PROVIDER LETTERHEAD

Water Billing Data Release Letter (tenant/member)

Address: ___________________________________

Unit #:

Provider Name:

Phone #:

City/Town:

Postal Code:

Water Account #:

To:  Billing Department

The above building and unit # are associated with the [Housing Provider name] energy audit.  This energy audit is aimed at improving energy and water efficiency. In order to perform the analysis necessary we agree to provide our gas billing data for the past two years up to the most recent data available on an ongoing basis, until further notice. We understand that [provider name] and its authorized energy consultants are using this utility billing data solely for the purposes of the energy audit. All data is to be treated in confidence and not released to other parties, other than the Consultant or the Social Housing Services Corporation.

Therefore I, the undersigned, authorize

______________________________________________________________________

(Name of utility company on your hydro bill)

Utility Address:  _________________________________________________________

Utility Phone:     _________________________________________________________

to release utility data for the aforementioned building and associated account numbers directly to the [housing provider]

Questions: Please contact 416-594-9325, 1-866-268-4451 or energy@shscorp.ca. Your help is greatly appreciated.

___________________________________________________

Signature: (person whose name appears on utility bill)

___________________________________________________

Please also print name

# Text boxes

Note to resident completing this form:  Please provide the address of your building, including your unit #, as well as the name of your utility company name and your account number.  When you have completed the form, please return it, along with a copy of a recent bill, to your housing provider.  Your housing provider will then send the documents directly to [housing provider].

Note to resident completing this form:  Please provide the address of your building, including your unit #, as well as the name of your utility company name and your account number.  When you have completed the form, please return it, along with a copy of a recent bill, to your housing provider.  Your housing provider will then send the documents directly to;

[ housing provider]

Note to resident completing this form:  Please provide the address of your building, including your unit #, as well as the name of your utility company name and your account number.  When you have completed the form, please return it, along with a copy of a recent bill, to your housing provider.  Your housing provider will then send the documents directly to Social Housing Services Corporation.